DABLH

BAR LINEAR GRILLE WITH DRYWALL FLANGE

TYPE: Bar linear grille.

BLADE ARRANGEMENT: Fixed bars parallel to the long dimension unless otherwise scheduled; blade option selected from -00, -01, -15, -30, -82, or -84.

DAMPER / FILTER / SCREEN: None.

FRAME: Fully extruded architectural aluminum, hidden drywall flange frame.

FINISHES: W White; S Silver; M Mill; B- Brown; FB – Flat Black; P – Prime Coat; Special Order.

PERFORMANCE BASIS: ANSI/ASHRAE Standard 70-2023

SUGGESTED SPECIFICATION

Furnish and install Dayus Model DABLH Bar Linear Grille with Drywall Flange of the type, finish, scheduled listed size/opening size, outside size, or inside size as applicable, and mounting method shown on the plans and air distribution schedules.

The bar linear grille shall be constructed with fully extruded architectural aluminum hidden drywall flange frame and fixed bars parallel to the long dimension unless otherwise scheduled; blade option selected from -00, -01, -15, -30, -82, or -84.

Units shall be furnished in Dayus [White; Silver; Mill; Brown; Flat Black; Prime Coat; Custom] finish as scheduled.

Provide scheduled options and related model variants as indicated.

The manufacturer shall provide published performance data for the bar linear grille, which shall be tested in accordance with ANSI/ASHRAE Standard 70-2023.

STANDARD FEATURES

- Hidden drywall flange designed to install beneath drywall

- Fixed bar blades, direction as scheduled

- Six blade profile options: -00, -01, -15, -30, -82, -84

- Fully extruded architectural aluminum construction

- 1/2 in. standard dimensions; custom sizes to 1/16 in. increments

- Not designed for floor use unless a floor-rated model is specifically scheduled

RELATED OPTIONS / MODEL VARIANTS

- DABLDH - Opposed blade damper/register

- DABLRH - Removable-core drywall flange grille

- DABL - Standard frame grille

Note: Confirm listed size/opening size, outside size, or inside size as applicable; finish; mounting method; damper/filter/screen requirements; and current Dayus model availability before issuing project specifications.