DABLRN

BAR LINEAR GRILLE WITH NO FLANGE & REMOVABLE CORE

TYPE: Bar linear grille with no flange and removable core.

BLADE ARRANGEMENT: Fixed bars parallel to the long dimension unless otherwise scheduled; blade option selected from -00, -01, -15, -30, -82, or -84.

DAMPER / FILTER / SCREEN: None.

FRAME: Fully extruded architectural aluminum no-flange frame; removable core retained with pressure clips.

FINISHES: W White; S Silver; M Mill; B- Brown; FB – Flat Black; P – Prime Coat; Special Order.

PERFORMANCE BASIS: ANSI/ASHRAE Standard 70-2023

SUGGESTED SPECIFICATION

Furnish and install Dayus Model DABLRN Bar Linear Grille with No Flange & Removable Core of the type, finish, scheduled listed size/opening size, outside size, or inside size as applicable, and mounting method shown on the plans and air distribution schedules.

The bar linear grille with no flange and removable core shall be constructed with fully extruded architectural aluminum no-flange frame; removable core retained with pressure clips and fixed bars parallel to the long dimension unless otherwise scheduled; blade option selected from -00, -01, -15, -30, -82, or -84.

Units shall be furnished in Dayus [White; Silver; Mill; Brown; Flat Black; Prime Coat; Custom] finish as scheduled.

Provide scheduled options and related model variants as indicated.

The manufacturer shall provide published performance data for the bar linear core, which shall be tested in accordance with ANSI/ASHRAE Standard 70-2023.

STANDARD FEATURES

- Fixed bars parallel to long dimension unless otherwise scheduled

- No-flange frame for clean built-in appearance

- Removable core for cleaning and maintenance, retained with pressure clips

- Six blade profile options: -00, -01, -15, -30, -82, -84

- Fully extruded architectural aluminum construction

- 1/2 in. standard dimensions; custom sizes to 1/16 in. increments

- Not designed for floor use unless a floor-rated model is specifically scheduled

RELATED OPTIONS / MODEL VARIANTS

- DABLDRN - Opposed blade damper/register

- DABLN - Fixed-core no-flange grille

- DABLR - Standard frame removable-core grille

Note: Confirm listed size/opening size, outside size, or inside size as applicable; finish; mounting method; damper/filter/screen requirements; and current Dayus model availability before issuing project specifications.