DAFD

FLOOR BAR LINEAR REGISTER

TYPE: Floor bar linear register.

BLADE ARRANGEMENT: Fixed bars parallel to the short dimension with 0°, 15°, and 30° transition deflection for wider air distribution.

DAMPER / FILTER / SCREEN: Opposed blade damper with concealed operator design.

FRAME: Fully extruded architectural aluminum, standard extruded aluminum frame, reinforced floor-rated core.

FINISHES: W White; S Silver; M Mill; B- Brown; FB – Flat Black; P – Prime Coat; Special Order.

PERFORMANCE BASIS: ANSI/ASHRAE Standard 70-2023

SUGGESTED SPECIFICATION

Furnish and install Dayus Model DAFD Floor Bar Linear Register of the type, finish, scheduled listed size/opening size, outside size, or inside size as applicable, and mounting method shown on the plans and air distribution schedules.

The floor bar linear register shall be constructed with fully extruded architectural aluminum standard frame, reinforced floor-rated core and fixed bars parallel to the short dimension with 0°, 15°, and 30° transition deflection for wider air distribution.

The unit shall include an opposed blade damper with concealed operator design.

Units shall be furnished in Dayus [White; Silver; Mill; Brown; Flat Black; Prime Coat; Custom] finish as scheduled.

Provide scheduled options and related model variants as indicated.

The manufacturer shall provide published performance data for the bar linear register, which shall be tested in accordance with ANSI/ASHRAE Standard 70-2023.

STANDARD FEATURES

- Fixed bar blades, direction as scheduled

- Reinforced core suitable for floor applications

- Fixed bars parallel to the short dimension with 0°, 15°, and 30° transition deflection for wider air distribution.

- Fully extruded architectural aluminum construction

- 1/2 in. standard dimensions; custom sizes to 1/16 in. increments

RELATED OPTIONS / MODEL VARIANTS

- Opposed blade damper with concealed operator

- DAF - No-damper floor grille

Note: Confirm listed size/opening size, outside size, or inside size as applicable; finish; mounting method; damper/filter/screen requirements; and current Dayus model availability before issuing project specifications.